| Time | Location/Instructors | Module | Training Topics |
| --- | --- | --- | --- |
| 6:30 AM to 8:30 AM | Construction Classroom/ «INSTRUCTOR(S)» | Tools & Equipment Module Objective- To provide a basic overview of the most common hand tools and power equipment used by the trade | Safety Overview |
|  |  |  | Overview of Mason’s tools - Trowel - Jointers - Mason’s line - Line block - Line pins - Line strechers - Line trigs |
|  |  |  | Overview of Tender’s Tools - Hammer - Linesman pliers - Tape measure- 30’ - Crescent wrench |
|  |  |  | Overview of Power Drills & Powder Actuated Tools - Screw gun - Hammer drill - Chipping hammer - Laser transit |
| 8:30 AM to 8:45 AM | Construction Classroom | Break |  |
| 8:45 AM to 10:15 AM | Masonry Outdoor Lab/ «INSTRUCTOR(S)» | Grout Pump | Overview of Grout Pump - Overview of how a grout pump works - Grout Pump Inspection & Setup - How to properly attach hose - How to drag hose - Proper maintenance of grout pump |
| Time | Location/Instructors | Module | Training Topics |
| 10:15 AM to 2:45 PM Please include the following breaks: 11:15 AM to 11:45 AM- Lunch 1:45 PM to 2:00 PM- Break | Masonry Outdoor Lab/ «INSTRUCTOR(S)» | Hands-On Training Objective- Participants will be divided into 3 small work groups and rotate through the following stations: - Mortar Mixing Station - Stocking Station - Saw Cutting Station Estimated time per station: ??? | Mortar Mixing Station- Trainees will complete the following tasks: - Mixer Inspection & Setup - Mix a batch of mortar - Empty batch into wheelbarrow - Transfer to mortar boards - Tempering mortar - Clean up |
|  |  |  | Stocking Station (2 stations)- Trainees will practice stocking the following 30’ wall sections: - 8x8x16 gray w/ control joint - spilt one side 8x8x16 w/ control joint & corner - 12x8x16 w/ control joint - 8x8x16 w/ bond beams (2) w/control joint - 8x8x16 door w/ control joint - interlocking fence panel w/control joint - 4x8x16 veneer/ control joints - split /score pattern wall w/ control joint |
|  |  |  | Saw Cutting Station (Table Saw & Quickie Saw)- Trainees will complete the following tasks: - Inspection & startup of saw - Table Saw cut- half blocks, open-ends - Quickie saw- center web, electrical box - Clean up of station |