## Slide 1: Masonry Tender Training Program

## Slide 2: Masonry Materials

## Slide 3: Evolution of Masonry Materials
Stone
  Used in construction since the dawn of time
  Cut to fit together like a jigsaw puzzle
Sun dried brick
  First used around 4000 BC
  Humanity’s oldest manufactured product
  Extremely susceptible to weathering
  Coated with mud to add durability
  Chopped straw added to give brick greater strength

## Slide 4: Evolution of Masonry Materials
Kiln-fired Brick
  Produced a more weather resistant brick
  Introduction of standardized size 8” x 2” x 16”
  Installed using mortar
  Installed in different positions and patterns for added beauty
Concrete Masonry Units
  Introduced in 1850 by Joseph Gibbs
  First block made in wood forms
  In 1900 Harmon S. Palmer patented machine that made a monster unit 8” x 10” x 30”
  Modern manufacturing facilities extremely efficient

## Slide 5: Stone
Rubble and ashlar:
  Dry and mortared stone walls
  Retaining walls
  Facing walls
  Slope protection
  Paving, patios, walkways
  Fireplaces
Flagstone:
  Paving and floors
Notes: Explain that rubble is collected from fields or quarries and is irregular in size and shape, but it can be roughly squared with a brick hammer. Also explain that ashlar is stone that is cut at a quarry, and flagstone is usually quarried slate.

## Slide 8: Clay Products
Brick (solid masonry units):
  Classifications:
    building
    facing
    hollow
    paving ceramic glazed
    thin veneer
    sewer
    manhole
Tile (hollow masonry units)
Architectural terra cotta units
Notes: Explain that brick is also classified as being solid if no more than 25% of its surface is cored, meaning that the brick has holes extending through it to reduce weight, and that iIf the brick has no holes at all, it is called uncored brick.

## Slide 11: Concrete Masonry Units
  Classified by intended use, size, and appearance
  ASTM International standards for masonry units:
    Loadbearing and nonbearing concrete block
    Concrete brick
    Calcium silicate face brick
    Pre-faced or prefinished facing units
    Manholes and catch basin units

## Slide 14: Concrete Masonry Units (CMU)
  Typical actual dimensions:
  Width x Height x Length
  8 x 8 x 16
7 5⁄8"
15 5⁄8"
7 5⁄8”
Actual Unit
Dimensions
Notes: Note that actual dimensions refer to the dimensions of the block itself, while nominal dimensions include the thickness of the mortar in the measurement. Also explain that aerated block is made with an admixture that generates gas bubbles inside the concrete to make the block lighter.

## Slide 15: Parts of a CMU
Cross Web
Cell or Core
Face Shell
Plain End
Concave End
Ends or Ears

## Slide 16: Common Shapes for CMU
8816 Stretcher
888 Half
8816 Bond Beam
8416 Stretcher
12816 Stretcher
4816 Interlock
4816 Stretcher
8816 A-block
Notes: Discuss the purposes of the different features of the blocks.

## Slide 17: Architectural Block Finishes
Split Face and Glazed
Fluted Split Face
Split and Ground Face
Scored and Ground Face
Glazed
Slump Block
Notes: Point out that surface finishes on architectural blocks make veneer unnecessary.

## Slide 18: Reinforcing Steel (Rebar)
  Placed vertically and horizontally in CMU
Notes: Point out that anchors must be installed according to specifications because they affect the loadbearing of a wall.

## Slide 20
Main ribs
Letter for producing mill1
Bar size #134
Type steel (new billet)
Grade mark line2
H
H
13
13
S
S
Grade 40
Grade 60
Structural Masonry Inspection
Bar size # (mm)
3 (10)
4 (13)
5 (16)
6 (19)
7 (22)
8 (25)
9 (29) 10 (32) 11 (36)
Notes: Current designation of reinforcing steel is by ‘soft metric’, that is, the size of reinforcement did not change from the inch designation (#3, #4, #5…..) and the metric designation (#10, #13, #16……..) correlates to the inch size designation.

## Slide 21: Rebar Positioners
  Hold rebar in position for grout placement
Notes: Point out that anchors must be installed according to specifications because they affect the loadbearing of a wall.

## Slide 22: Horizontal Joint Reinforcement
  Used in horizontal joints every second or third course, as specified
Ladder (Rectangular)
Cross Bracing
Truss (Triangular)
Cross Bracing
Notes: Trainees should be able to explain that horizontal joint reinforcements are made of two 10-foot lengths of steel bars welded together by rectangular or triangular cross bracing.

## Slide 24: Control Joint Fillers
  Replace mortar in expansion or contraction joints in block walls
  Break bond between adjacent block and allow expansion and contraction of wall
Notes: Discuss how joint fillers fill control joints to keep moisture out of spaces.

## Slide 25: Control Joint Locations
At Maximum of
One-Half Control
Joint Spacing
From Corners
Between Main And
Intersecting Wall
At Changes
In Wall Height
Adjacent To Lintel And
Through Opening If Not
Crossing Vertical
Reinforcement
At Pilasters And
Changes In Wall
Thickness

## Slide 26: Rigid Wall Anchors
  Prevent walls from separating when load is imposed
Notes: Point out that anchors must be installed according to specifications because they affect the loadbearing of a wall.

## Slide 27: Veneer Ties
  Tie brick veneer to steel and wood stud walls
Notes: Point out that anchors must be installed according to specifications because they affect the loadbearing of a wall.

## Slide 28: Flashing
  Directs moisture away from interior of building
  Allows moisture trapped in masonry wall to exit through weep system to outside face of wall
  Installed under masonry lintels, sills, copings, and spandrels
Notes: Discuss the purposes, advantages, and assembly of flashing, as well as the various materials that common flashing is made from.

## Slide 29
Questions and Answers